SM31-EZ(-T)

Architectural Specifications
The loudspeaker transducer shall consist of one full-range 76.2 mm (3.0 in.) polypropylene cone with butyl rubber sur​round. 

Performance specifications for a typi​cal production unit shall be as follows: Useable frequency response shall extend from 100 Hz – 22 kHz (- 10 dB). Measured sensitivity (2.83 volt input, 1 meter) shall be at least 86.0 dB. The speaker shall have a nominal impedance of 8 ohms, with an optional 10-watt transformer (AC-SM31-XFMR) for distributed systems. The optional transformer shall have a five-posi​tion tap switch for 25-, 70.7- and 100-volt applications. Rated power capacity shall be at least 20 watts continuous (RMS) and conform to EIA-426-B. Maximum continu​ous power output at 1 meter shall be 101 dB. 
Surface-mount installation for the unit is designed to mount to wall, ceiling or other rigid structure. When the optional 10-watt transformer is incorporated, mounting shall be to a single-gang deep junction box. Vertical and horizontal pivot​ing shall be employed to offer unlimited aiming capability for indoor and outdoor applications. Installation for the speaker shall be by proprietary and corrosion-resis​tant ball mount with an indexed swivel-joint for precision aiming. 
External wiring shall be by low-profile screw terminal and shall accept from 10 – 22-gauge wire. The system shall be for indoor/outdoor applications. 
The enclosure shall be constructed of injection-molded, ABS. The grille shall be constructed of powder-coated aluminum for lasting performance and affix to the speaker baffle via pressure fit. Overall cabinet dimensions shall be no more than 110.4 mm (4.35 in.) in height by 110.4 mm (4.35 in.) in width by 96.9 mm (3.81 in.) in depth including the mounting bracket. 
The system shall be the SM31-EZ for low-impedance applications or the SM31-EZ-T for high-impedance applications.
